12DC Diesel Trailer Specifications.

12DC diesel powered mobile dust collector including the following equipment.

Engine - Isuzu diesel either 4LE2T FT4.

Engine - Exhaust with braided stainless flex joint.

Fan - Non-overloading, spark resisting.

Fan Drive - Belt with Twin Disc PTO on engine.

Filters - 18 vertical top loading cartridges.

Filters - 4680 sq. ft. of primary filter area.

Filters - Air to cloth ratio of 2.56 : 1

Filtering Capacity - 12,000 cfm @ 12” Wg.

Filter Efficiency - 99.8% at .5 micron after initial dust cake.

Filter Efficiency - MERV 12 initial rating.

Filter Cleaning - Solid state programmable timer for reverse air pulse system.

Inlet Duct - (4) 16” ports ( 2 each side )

Waste Discharge - Hydraulically driven auger.

Trailer - Hitch 2 5/16 heavy ball coupler.

Trailer - Axles (2) 6000 lb torsion with electric brakes.

Trailer - DOT approved lighting and reflective recognition tape.

Fuel Capacity - 60 U S Gallons.

Engine Compartment - Enclosed and lockable.

Dimensions – 10’ H x 8’ 6” W x 21’ L

Weight - 8,000 lbs.

Finish - Epoxy primer, Acrylic urethane top coat.

Warranty - One year or 1500 hours whichever occurs first.